## NA6 Standard Curves
|  |  |  | Run 1 Cp values |  |  |  | Run 2 Cp values |  |  |  | Run 3 Cp values |  |  |  | Run 4 Cp values |  |  | Optimised
NA6 Amount | #Molecules | Log |  | E2 | E6 | HMBS |  | E2 | E6 | HMBS |  | E2 | E6 | HMBS |  | E2 | E6 | HMBS | Amplicon | Efficiency | Nt Value | Ft Setting
2ng 1 | 417600000 | 8.6208 |  | 8.8972 | 9.1902 | 8.2094 |  | 9.7742 | 10.1435 | 9.2753 |  | 9.6412 | 10.4387 | 9.1251 |  | 10.1796 | 9.9787 | 8.7591 | E2 | 0.90838 | 274293000000 | 0.010973
2ng 2 | 417600000 | 8.6208 |  | NA | 9.2502 | 8.0628 |  | 9.6563 | 10.0599 | 9.0063 |  | 9.9265 | 10.2559 | 9.143 |  | 10.4428 | 9.9059 | 8.7678 | E6 | 0.95011 | 338060205405.027 | 0.011023
2ng 3 | 417600000 | 8.6208 |  | 9.3718 | 9.3657 | 7.9345 |  | 10.5119 | 10.3338 | 8.9168 |  | 9.7871 | 10.4288 | 9.145 |  | 10.497 | 10.031 | 8.629 | HMBS | 0.91046 | 228114836089.6688 | 0.00871
200pg 1 | 41760000 | 7.6208 |  | 13.2689 | 13.018 | 11.8137 |  | 12.5245 | 13.5752 | 12.4429 |  | 12.3906 | 13.1253 | 11.9265 |  | 12.5705 | 12.4925 | 11.5757
200pg 2 | 41760000 | 7.6208 |  | 13.5632 | 12.9426 | 12.0193 |  | 13.463 | 13.3745 | 12.4255 |  | 12.876 | 12.8752 | 12.0876 |  | 13.0907 | 12.387 | 11.3011
200pg 3 | 41760000 | 7.6208 |  | 13.7842 | 13.0608 | 11.6399 |  | 13.6789 | 13.4253 | 12.1122 |  | 12.6429 | 12.795 | 11.8615 |  | 13.829 | 12.5147 | 11.087
20pg 1 | 4176000 | 6.6208 |  | 16.7405 | 16.2502 | 15.4703 |  | 16.8542 | 17.1115 | 16.0658 |  | 16.3403 | 16.8041 | 16.1536 |  | 16.9839 | 16.8586 | 16.1795
20pg 2 | 4176000 | 6.6208 |  | 16.714 | 16.4127 | 15.0796 |  | 17.0051 | 17.0391 | 16.0188 |  | 17.0635 | 16.9431 | 15.8182 |  | 17.0744 | 16.9526 | 15.5977
20pg 3 | 4176000 | 6.6208 |  | 17.108 | 16.4319 | 15.0599 |  | 17.3322 | 17.072 | 15.7177 |  | 17.2663 | 16.9378 | 15.7963 |  | 17.3473 | 17.273 | 15.3875
2pg 1 | 417600 | 5.6208 |  | 20.6241 | 20.268 | 18.5112 |  | 20.3958 | 20.2571 | 19.261 |  | 20.7163 | 20.3094 | 19.2377 |  | 20.6802 | 20.4247 | 19.0789
2pg 2 | 417600 | 5.6208 |  | 20.8578 | 20.2801 | 19.1246 |  | 19.5666 | 20.3082 | 19.4106 |  | 20.8452 | 20.2385 | 19.3607 |  | 20.8819 | 20.1449 | 19.1214
2pg 3 | 417600 | 5.6208 |  | 20.7004 | 20.1429 | 18.9161 |  | 20.6616 | 20.2828 | 19.0548 |  | 20.4666 | 20.1326 | 19.3593 |  | 20.6413 | 20.3021 | 18.8249
200fg 1 | 41760 | 4.6208 |  | 24.7557 | 24.2424 | 22.0554 |  | 24.1645 | 23.8714 | 22.766 |  | 24.0069 | 24.0933 | 22.9842 |  | 23.8295 | 23.8287 | 22.762
200fg 2 | 41760 | 4.6208 |  | 24.4582 | 24 | 22.5895 |  | 24.0241 | 23.5859 | 22.8026 |  | 23.7781 | 23.921 | 22.9662 |  | 24.2498 | 23.5313 | 22.6067
200fg 3 | 41760 | 4.6208 |  | 24.6138 | 24.1221 | 22.6798 |  | 24.5935 | 24.0054 | 22.7505 |  | 24.0804 | 23.9573 | 22.9924 |  | 24.5458 | 23.6789 | 22.4394
20fg 1 | 4176 | 3.6208 |  | 28.4211 | 27.4544 | 26.2893 |  | 27.6917 | 27.2335 | 26.7762 |  | 27.5416 | 27.0364 | 26.64 |  | 27.349 | 27.2264 | 26.5984
20fg 2 | 4176 | 3.6208 |  | 28.0491 | 27.4702 | 26.2276 |  | 27.8429 | 27.1233 | 26.5474 |  | 27.7694 | 26.9934 | 26.6559 |  | 27.9466 | 27.0623 | 26.1086
20fg 3 | 4176 | 3.6208 |  | 28.2218 | 27.5196 | 26.1827 |  | 28.2151 | 26.8004 | 26.5571 |  | 27.6853 | 27.0014 | 26.8212 |  | 27.7445 | 27.1014 | 25.2036
2fg 1 | 417.6 | 2.6208 |  | 31.8731 | 30.3414 | 28.0499 |  | 29.7256 | 30.2866 | 29.9203 |  | 30.7685 | 30.5818 | 30.3112 |  | 31.0197 | 30.5969 | 30.6641
2fg 2 | 417.6 | 2.6208 |  | 28.3146 | 31.4616 | 30.0146 |  | 30.2181 | 29.8851 | 29.1106 |  | 30.8218 | 30.151 | 29.919 |  | 30.5102 | 30.1483 | 30.2
2fg 3 | 417.6 | 2.6208 |  | 31.4523 | 31.4875 | 30.9737 |  | 30.8577 | 27.3857 | 29.2522 |  | 31.6193 | 30.3746 | 30.212 |  | 31.4988 | 30.3419 | 28.5636
|  |  | RSQ | 0.98742 | 0.99884 | 0.99522 |  | 0.99455 | 0.99089 | 0.99866 |  | 0.99762 | 0.99823 | 0.99901 |  | 0.99726 | 0.99735 | 0.99459
|  |  | Efficiency | 88.11% | 87.85% | 88.89% |  | 93.1% | 101.9% | 94.85% |  | 89.07% | 96.56% | 90.28% |  | 92.7% | 93.84% | 90.56%
|  |  | NT | 181065261016.3716 | 143402533174.204 | 69372747806.9221 |  | 285390395304.8671 | 585430837399.9879 | 169169898270.0096 |  | 181623398241.3405 | 368007155010.6709 | 111073347801.2248 |  | 311657438156.9386 | 255640638222.7393 | 88564447049.6225
Average Cps
|  |  | Log | E2 | E6 | HMBS
|  |  | 8.6208 | 9.6231 | 9.9378 | 8.7479
|  |  | 8.6208 | 10.0086 | 9.868 | 8.745
|  |  | 8.6208 | 10.042 | 10.0399 | 8.6563
|  |  | 7.6208 | 12.6886 | 13.0528 | 11.9397
|  |  | 7.6208 | 13.2482 | 12.8949 | 11.9584
|  |  | 7.6208 | 13.4838 | 12.949 | 11.6752
|  |  | 6.6208 | 16.7297 | 16.7561 | 15.9052
|  |  | 6.6208 | 16.9642 | 16.8369 | 15.6286
|  |  | 6.6208 | 17.2635 | 16.9287 | 15.4903
|  |  | 5.6208 | 20.6041 | 20.3148 | 19.0222
|  |  | 5.6208 | 20.5379 | 20.2429 | 19.2543
|  |  | 5.6208 | 20.6175 | 20.2151 | 19.0334
|  |  | 4.6208 | 24.1892 | 24.0089 | 22.6419
|  |  | 4.6208 | 24.1276 | 23.6794 | 22.7412
|  |  | 4.6208 | 24.4584 | 23.9409 | 22.7155
|  |  | 3.6208 | 27.7509 | 27.2377 | 26.5759
|  |  | 3.6208 | 27.902 | 27.1623 | 26.3849
|  |  | 3.6208 | 27.9667 | 27.1057 | 26.1912
|  |  | 2.6208 | 30.8467 | 30.4517 | 29.7364
|  |  | 2.6208 | 29.9662 | 30.4115 | 29.811
|  |  | 2.6208 | 31.357 | 29.8974 | 29.7504
Values plotted & used in calculations following omission of errant data points
|  |  | Run 1 Cp values |  |  |  | Run 2 Cp values |  |  |  | Run 3 Cp values |  |  |  | Run 4 Cp values
|  |  | E2 | E6 | HMBS |  | E2 | E6 | HMBS |  | E2 | E6 | HMBS |  | E2 | E6 | HMBS
|  |  | 8.8972 | 9.1902 | 8.2094 |  | 9.7742 | 10.1435 | 9.2753 |  | 9.6412 | 10.4387 |  |  | 10.1796 | 9.9787 | 8.7591
|  |  |  | 9.2502 | 8.0628 |  | 9.6563 | 10.0599 | 9.0063 |  | 9.9265 | 10.2559 | 9.143 |  | 10.4428 | 9.9059 | 8.7678
|  |  | 9.3718 | 9.3657 | 7.9345 |  | 10.5119 | 10.3338 | 8.9168 |  | 9.7871 | 10.4288 | 9.145 |  | 10.497 | 10.031 | 8.629
|  |  | 13.2689 | 13.018 | 11.8137 |  | 12.5245 | 13.5752 | 12.4429 |  | 12.3906 | 13.1253 | 11.9265 |  | 12.5705 | 12.4925 | 11.5757
|  |  | 13.5632 | 12.9426 | 12.0193 |  | 13.463 | 13.3745 | 12.4255 |  | 12.876 | 12.8752 | 12.0876 |  | 13.0907 | 12.387 | 11.3011
|  |  | 13.7842 | 13.0608 | 11.6399 |  | 13.6789 | 13.4253 | 12.1122 |  | 12.6429 | 12.795 | 11.8615 |  | 13.829 | 12.5147 | 11.087
|  |  | 16.7405 | 16.2502 | 15.4703 |  | 16.8542 | 17.1115 | 16.0658 |  | 16.3403 | 16.8041 |  |  | 16.9839 | 16.8586 | 16.1795
|  |  | 16.714 | 16.4127 | 15.0796 |  | 17.0051 | 17.0391 | 16.0188 |  | 17.0635 | 16.9431 | 15.8182 |  | 17.0744 | 16.9526 | 15.5977
|  |  | 17.108 | 16.4319 | 15.0599 |  | 17.3322 | 17.072 | 15.7177 |  | 17.2663 | 16.9378 | 15.7963 |  | 17.3473 | 17.273 | 15.3875
|  |  | 20.6241 | 20.268 | 18.5112 |  | 20.3958 | 20.2571 | 19.261 |  | 20.7163 | 20.3094 | 19.2377 |  | 20.6802 | 20.4247 | 19.0789
|  |  | 20.8578 | 20.2801 | 19.1246 |  | 19.5666 | 20.3082 | 19.4106 |  | 20.8452 | 20.2385 | 19.3607 |  | 20.8819 | 20.1449 | 19.1214
|  |  | 20.7004 | 20.1429 | 18.9161 |  | 20.6616 | 20.2828 |  |  | 20.4666 | 20.1326 | 19.3593 |  | 20.6413 | 20.3021 | 18.8249
|  |  | 24.7557 | 24.2424 | 22.0554 |  | 24.1645 | 23.8714 | 22.766 |  | 24.0069 | 24.0933 | 22.9842 |  | 23.8295 | 23.8287 | 22.762
|  |  | 24.4582 |  | 22.5895 |  | 24.0241 | 23.5859 | 22.8026 |  | 23.7781 | 23.921 | 22.9662 |  | 24.2498 | 23.5313 | 22.6067
|  |  | 24.6138 | 24.1221 | 22.6798 |  | 24.5935 | 24.0054 | 22.7505 |  | 24.0804 | 23.9573 | 22.9924 |  | 24.5458 | 23.6789 | 22.4394
|  |  | 28.4211 | 27.4544 | 26.2893 |  | 27.6917 | 27.2335 | 26.7762 |  | 27.5416 | 27.0364 | 26.64 |  | 27.349 | 27.2264 | 26.5984
|  |  | 28.0491 | 27.4702 | 26.2276 |  | 27.8429 | 27.1233 | 26.5474 |  | 27.7694 | 26.9934 | 26.6559 |  | 27.9466 | 27.0623 | 26.1086
|  |  | 28.2218 | 27.5196 | 26.1827 |  | 28.2151 | 26.8004 | 26.5571 |  | 27.6853 | 27.0014 | 26.8212 |  | 27.7445 | 27.1014 | 25.2036
|  |  | 31.8731 | 30.3414 | 28.0499 |  | 29.7256 | 30.2866 | 29.9203 |  | 30.7685 | 30.5818 | 30.3112 |  | 31.0197 | 30.5969 | 30.6641
|  |  | 28.3146 | 31.4616 | 30.0146 |  | 30.2181 | 29.8851 | 29.1106 |  | 30.8218 | 30.151 | 29.919 |  | 30.5102 | 30.1483 | 30.2
|  |  | 31.4523 | 31.4875 | 30.9737 |  | 30.8577 | 27.3857 | 29.2522 |  | 31.6193 | 30.3746 | 30.212 |  | 31.4988 | 30.3419 | 28.5636
Data points in grey were not used in generating the Average Cps Table. NA indicates a failed reaction. The other four values were omitted as the adversely affected the linear regression lines, producing a reduction in R2 values.

## Accuracy Test
| Exptected quantification in 2 ml of template | [5 empty] | Mean Spectrophotometry assessment |  |  | Samples per ml
| E2 | E6 | HMBS / hap | E2/E6 | E6/dipgen |  | Dilution ratio A-B |  | 4.64 | A | 51ng Host 10pg pSP64 HPV16
A | 760000 | 760000 | 28571 | 1 | 53 |  | Dilution ratio B-C |  | 3.67 | B | 11ng Host 2.16pg pSP64 HPV16
B | 163922 | 163922 | 6163 | 1 | 53 |  |  |  |  | C | 3ng Host 58.9fg pSP64 HPV16
C | 44665 | 44665 | 1679 | 1 | 53
| Set 1 Cp Values | [8 empty] | Optimised NA6 calibration curve values
| E2 |  |  | E6 |  |  | HMBS |  |  | Amplicon | Efficiency | Nt value | Ft value
| rep1 | rep2 | rep3 | rep1 | rep2 | rep3 | rep1 | rep2 | rep3 | E2 | 0.91784 | 183069288835.5936 | 0.00382
A | 17.8367 | 17.1785 | 16.9762 | 16.0097 | 15.8074 | 15.8263 | 21.0782 | 21.0626 | 21.0072 | E6 | 0.9903 | 73088225216.5493 | 0.00217
B | 19.5341 | 19.7744 | 19.7228 | 17.3078 | 17.2822 | 17.3068 | 23.3052 | 23.6284 | 23.5474 | HMBS | 1.0136 | 260138785152.6524 | 0.00723
C | 22.5655 | 22.6607 | 22.9524 | 17.466 | 17.7431 | 17.5783 | 25.7155 | 26.0079 | 26.0084
Set 2 Cp Values
| E2 |  |  | E6 |  |  | HMBS
| rep1 | rep2 | rep3 | rep1 | rep2 | rep3 | rep1 | rep2 | rep3
A | 16.8816 | 16.8558 | 16.9723 | 15.9111 | 15.9551 | 15.9154 | 21.0139 | 21.1113 | 21.1261
B | 19.2231 | 19.4839 | 19.677 | 18.0149 | 18.3112 | 18.3369 | 23.9604 | 23.9459 | 23.7846
C | 22.7265 | 22.4363 | 23.0738 | 19.7075 | 20.0877 | 20.0823 | 24.0276 | 27.3329 | 27.5837
Set 3 Cp Values
| E2 |  |  | E6 |  |  | HMBS
| rep1 | rep2 | rep3 | rep1 | rep2 | rep3 | rep1 | rep2 | rep3
A | 18.3651 | 18.5549 | 18.5805 | 16.2218 | 16.0488 | 16.1861 | 21.1575 | 21.1824 | 21.1338
B | 20.9879 | 21.0708 | 21.158 | 17.9196 | 18.0276 | 18.0694 | 23.8125 | 24.0373 | 24.1035
C | 24.2347 | 24.4781 | 24.623 | 19.2647 | 19.7731 | 19.856 | 26.8672 | 27.0239 | 26.1956
Viral load assessment in 2 ml of template
| E2 | E6 | HMBS | E2/dipgen | E6/dipgen | E2/E6
A | 1786126.0876 | 1232229.7413 | 99631.6613 | 35.8546 | 24.7357 | 1.4495
B | 416808.4813 | 344845.1325 | 14873.2895 | 56.0479 | 46.3711 | 1.2087 | Best performing template concentrations
C | 53912.5293 | 81194.2031 | 2094.3721 | 51.4832 | 77.5356 | 0.66399
Absolute quantification of amplicons per A, B & C
| E2 | E6 | HMBS | E2 % Change | E6 % Change | HMBS %Change
A | 893063.0438 | 616114.8707 | 49815.8307 | -17.5083 | 18.9323 | -74.358
B | 208404.2406 | 172422.5663 | 7436.6448 | -27.1362 | -5.1857 | -20.666 | Best performing template concentrations
C | 26956.2646 | 40597.1015 | 1047.186 | 39.6479 | 9.1076 | 37.6304

## Assessment of Cell Lines
|  | Run 1 Cp Values | [9 empty] | Optimised NA6 calibration curve values
|  | E2 |  |  | E6 |  |  | HMBS |  |  |  | Amplicon | Efficiency | Nt value | Ft value
|  | rep1 | rep2 | rep3 | rep1 | rep2 | rep3 | rep1 | rep2 | rep3 |  | E2 | 0.90838 | 274293000000 | 0.010973
| C33A | 26.0917 | 26.0022 | 25.8722 | 21.5176 | 21.3041 | 21.3622 | 20.6088 | 20.4829 | 20.8811 |  | E6 | 0.95011 | 338060205405.0275 | 0.011023
| CaSki | 14.3915 | 14.1021 | 14.4288 | 14.976 | 15.0284 | 15.2494 | 23.9611 | 23.6408 | 23.3088 |  | HMBS | 0.91046 | 228114836089.6688 | 0.00871
| SiHa | 26.2226 | 24.4605 | 26.9246 | 22.9633 | 22.9294 | 22.743 | 23.2703 | 23.1726 | 22.951
| W12.Ser1p16 | 16.7912 | 16.313 | 16.179 | 16.2572 | 16.2588 | 16.6081 | 22.9254 | 22.9651 | 23.1101 | 10 pg weights
| W12.Ser1p57 | 22.1096 | 21.789 | 21.9568 | 21.0378 | 21.2409 | 21.1398 | 21.8101 | 21.9303 | 21.6983 |  | E2 | E6 | HMBS
| NA6 10pg | 19.7468 | 19.6163 | 19.3744 | 19.3113 | 18.0917 | 18.7446 | 18.0031 | 17.7181 | 18.3752 | CaSki, SiHa | 4.8771 | 3.3791 | 2.1083
| NA6 10pg | 14.9183 | 15.2445 | 12.2397 | 15.0734 | 15.1622 | 15.405 | 13.4879 | 13.2268 | 15.7759 | C33a, W12.Ser1p16, W12.Ser1p57 | 0.23419 | 0.30881 | 0.11339
Run 2 Cp Values
|  | E2 |  |  | E6 |  |  | HMBS
|  | rep1 | rep2 | rep3 | rep1 | rep2 | rep3 | rep1 | rep2 | rep3
| C33A | 26.234 | 25.9571 | 25.4564 | 25.8547 | 25.9296 | 25.8163 | 20.2091 | 20.2075 | 20.1925
| CaSki | 14.5449 | 14.019 | 14.3865 | 15.0136 | 15.0768 | 15.0952 | 24.4231 | 23.8201 | 23.917
| SiHa | 26.159 | 26.1375 | 26.5196 | 22.8235 | 22.7195 | 22.6542 | 23.3141 | 23.3177 | 23.1437
| W12.Ser1p16 | 16.9172 | 16.63 | 16.5825 | 16.1642 | 16.3658 | 16.4023 | 22.8503 | 22.9999 | 22.6467 | 10 pg weights
| W12.Ser1p57 | 22.0482 | 21.913 | 21.9412 | 21.3972 | 21.3672 | 21.6544 | 21.7354 | 21.438 | 21.8219 |  | E2 | E6 | HMBS
| NA6 10pg | 19.5214 | 19.2323 | 19.9929 | 19.1822 | 18.2758 | 19.1842 | 18.0384 | 18.0128 | 18.2164 | CaSki, SiHa | 4.5869 | 4.5263 | 2.1571
| NA6 10pg | 14.8226 | 14.9158 | 15.0516 | 14.6424 | 15.1151 | 15.8451 | 15.2056 | 15.1133 | 15.0517 | C33a, W12.Ser1p16, W12.Ser1p57 | 0.23383 | 0.29925 | 0.32472
Run3 Cp Values
|  | E2 |  |  | E6 |  |  | HMBS
|  | rep1 | rep2 | rep3 | rep1 | rep2 | rep3 | rep1 | rep2 | rep3
| C33A | 31.3769 | 31.2332 | 31.1591 | 31.1872 | 31.032 | 31.1822 | 19.2085 | 19.2442 | 19.2344
| CaSki | 13.9406 | 13.5295 | 14.2171 | 14.3576 | 14.4383 | 14.6041 | 23.3741 | 22.9456 | 22.8501
| SiHa | 25.9235 | 25.5466 | 26.1829 | 22.1263 | 22.0254 | 21.9838 | 22.2573 | 22.2463 | 22.0059
| W12.Ser1p16 | 15.7926 | 15.7161 | 16.3128 | 15.9827 | 15.6881 | 15.3994 | 21.7762 | 21.8053 | 21.8549 | 10 pg weights
| W12.Ser1p57 | 18.4574 | 19.5288 | 17.4788 | 22.1589 | 22.0453 | 20.3772 | 17.0206 | 17.2379 | 23.9771 |  | E2 | E6 | HMBS
| NA6 10pg | 20.3466 | 20.3059 | 20.2958 | 19.4999 | 18.7383 | 18.6803 | 18.7103 | 18.484 | 18.2979 | CaSki, SiHa | 7.6155 | 3.3651 | 2.8784
| NA6 10pg | 15.6802 | 16.1658 | 15.7866 | 15.2663 | 14.9382 | 15.4639 | 15.2703 | 15.1426 | 16.3087 | C33a, W12.Ser1p16, W12.Ser1p57 | 0.41047 | 0.33106 | 0.35946
dipgen = diploid genome
Mean calculated copies of each amplicon
|  | E2 | E6 | #DipGen | E2/dipgen | E6/dipgen | E2/E6 | Ploidy | Viral load
| C33A | 2251.2458 | 23246.6608 | 86134.5097 | 0.026136 | 0.26989 | 0.096842 | diploid | 0
| CaSki | 164334126.5749 | 62852404.0002 | 72334.6 | 2271.8606 | 868.912 | 2.6146 | tetraploid | 1737.8241
| SiHa | 75457.2316 | 371136.4419 | 108322.5566 | 0.6966 | 3.4262 | 0.20331 | triploid | 5.1393
| W12.Ser1p16 | 2411504.7768 | 2323192.8823 | 16281.9747 | 148.1089 | 142.685 | 1.038 | diploid | 142.685
| W12.Ser1p57 | 44375.5177 | 61697.6449 | 207486.8531 | 0.21387 | 0.29736 | 0.71924 | tetraploid | 0.59471
Range of E2/E6 ratios
|  | Run1 | Run2 | Run3 | min | max
| C33A | E2 rep1: 0.048696; E2 rep2: 1.0381; E2 rep3: 1.9108; E6 rep1: 0.048696; E6 rep2: 1.9108
| CaSki | E2 rep1: 2.4464; E2 rep2: 1.3723; E2 rep3: 3.4615; E6 rep1: 1.3723; E6 rep2: 3.4615
| SiHa | E2 rep1: 0.22892; E2 rep2: 0.11224; E2 rep3: 0.23812; E6 rep1: 0.11224; E6 rep2: 0.23812
| W12.Ser1p16 | E2 rep1: 0.84455; E2 rep2: 0.76154; E2 rep3: 1.3202; E6 rep1: 0.76154; E6 rep2: 1.3202
| W12.Ser1p57 | E2 rep1: 0.57329; E2 rep2: 0.70863; E2 rep3: 3.8236; E6 rep1: 0.57329; E6 rep2: 0.70863
W12.Ser1p57 Set3 E2 Cp values are unreliable, not used. | bar: E2 rep1 to E2 rep3

## Assessment of Clinical Sample
|  | Plate 1 Cp Values | [9 empty] | Optimised NA6 calibration curve values
|  | E2 |  |  | E6 |  |  | HMBS |  |  |  | Amplicon | Efficiency | Nt value | Ft value
|  | rep1 | rep2 | rep3 | rep1 | rep2 | rep3 | rep1 | rep2 | rep3 |  | E2 | 0.90838 | 274293000000 | 0.010973
| n10 | 20.5626 | 20.3987 | 20.3806 | 20.4782 | 20.374 | 20.313 | 24.7217 | 24.7455 | 24.8424 |  | E6 | 0.95011 | 338060205405.0275 | 0.011023
| n55 | 32.5601 | 29.4215 | 31.3652 | 22.4862 | 22.3863 | 22.5734 | 23.5636 | 23.6427 | 23.3675 |  | HMBS | 0.91046 | 228114836089.6688 | 0.00871
| G1 | 26.4638 | 26.4634 | 26.3917 | 23.2545 | 23.2254 | 23.3158 | 22.7412 | 22.7678 | 22.6577
| G3 | 17.3761 | 17.2934 | 17.3468 | 16.2955 | 16.1931 | 16.571 | 24.2544 | 24.2853 | 24.005
| G9 | 30.5191 | 30.1585 | 30.7753 | 15.7378 | 15.7158 | 16.0446 | 24.0954 | 24.2853 | 23.8888
| G11 | 15.2518 | 15.206 | 15.1278 | 13.1842 | 13.3299 | 13.2693 | 23.5004 | 23.5239 | 23.6013
| G19 | 23.0076 | 22.5725 | 22.7075 | 22.5467 | 22.3009 | 22.0997 | 24.1329 | 24.2911 | 24.307
| CaSki | 30.9531 | 30.6926 | 31.3909 | 30.165 | 29.478 | 30.1154 | 23.3568 | 23.3972 | 23.3385 | Plate 1 NA6 weighting
| NA6 10pg | 15.7655 | 16.0937 | 16.2828 | 15.4129 | 15.4159 | 15.7395 | 14.8469 | 14.6297 | 14.5601 | E2 | E6 | HMBS
| NA6 1pg | 18.5194 | 18.959 | 19.042 | 18.5321 | 18.261 | 18.6323 | 18.0711 | 18.0583 | 18.3656 | 0.40974 | 0.32952 | 0.22888
Plate 2 Cp Values
|  | E2 |  |  | E6 |  |  | HMBS
|  | rep1 |  |  | rep1 |  |  | rep1
| n12 | 18.8505 | 18.8948 | 18.5099 | 18.344 | 18.2168 | 18.3453 | 22.5745 | 22.6525 | 22.573
| G6 | 15.3239 | 15.3184 | 15.0407 | 15.0255 | 15.0349 | 14.9542 | 22.8975 | 22.7057 | 22.7113
| G12 | 20.3148 | 20.1849 | 20.095 | 19.5693 | 19.4214 | 19.9331 | 23.6346 | 23.553 | 23.2255
| G18 | 16.9344 | 16.7193 | 16.5745 | 15.9083 | 15.4722 | 15.8091 | 23.1627 | 23.1943 | 23.3029
| G26 | 15.977 | 15.7477 | 15.4452 | 15.7204 | 15.9515 | 16.0871 | 23.1632 | 23.1203 | 23.0958
| G30 | 24.8644 | 24.5641 | 24.619 | 24.1438 | 24.4445 | 24.2503 | 23.4853 | 23.3782 | 23.6758
| G31 | 28.3913 | 28.4403 | 28.966 | 23.8944 | 23.1506 | 23.3081 | 24.0729 | 24.2954 | 23.9888
| CaSki | 28.303 | 28.0103 | 27.8627 | 27.811 | 27.6252 | 27.8321 | 22.8749 | 22.7296 | 22.8327 | Plate 2 NA6 weighting
| NA6 10pg | 15.5361 | 16.0336 | 16.0705 | 15.3925 | 15.6106 | 15.4579 | 14.9595 | 15.1347 | 14.8435 | E2 | E6 | HMBS
| NA6 1pg | 18.5578 | 18.3697 | 18.8588 | 18.2119 | 18.1892 | 18.4405 | 17.5505 | 17.6025 | 18.1168 | 0.3638 | 0.3065 | 0.22832
dipgen = diploid genome
Plate 1 calculated copies of each amplicon
|  | E2 | E6 | #DipGen | E2/dipgen | E6/dipgen | E2/E6
| n10 | 211611.8193 | 137155.8696 | 2883.1925 | 73.395 | 47.5708 | 1.5429
| n55 | 176.8533 | 33462.826 | 6196.4946 | 0.028541 | 5.4003 | 0.0052851
| G1 | 4201.2375 | 20030.4736 | 10552.0958 | 0.39814 | 1.8982 | 0.20974
| G3 | 1520864.1764 | 2090336.102 | 3962.0431 | 383.8586 | 527.5905 | 0.72757
| G9 | 305.5579 | 3033810.0129 | 4391.8328 | 0.069574 | 690.7845 | 0.00010072
| G11 | 6066377.9138 | 15775575.541 | 6357.7764 | 954.1666 | 2481.3039 | 0.38454
| G19 | 47590.3527 | 37869.4258 | 3869.1271 | 12.3 | 9.7876 | 1.2567
| CaSki | 230.8279 | 204.9468 | 7084.1065 | 0.032584 | 0.028931 | 1.1263
Plate 2 calculated copies of each amplicon
|  | E2 | E6 | #DipGen | E2/dipgen | E6/dipgen | E2/E6
| n12 | 510959.6909 | 494977.0738 | 11725.6535 | 43.5762 | 42.2132 | 1.0323
| G6 | 5008979.9972 | 4540872.257 | 10731.7555 | 466.7438 | 423.1248 | 1.1031
| G12 | 215716.4353 | 218356.4489 | 6223.538 | 34.6614 | 35.0856 | 0.98791
| G18 | 2025639.109 | 2690600.5014 | 7850.3888 | 258.0304 | 342.7347 | 0.75286
| G26 | 3795202.9479 | 2446526.049 | 8235.4955 | 460.8348 | 297.0709 | 1.5513
| G30 | 12285.6058 | 9580.8629 | 6502.3759 | 1.8894 | 1.4734 | 1.2823
| G31 | 1039.6201 | 17976.0986 | 4445.2243 | 0.23387 | 4.0439 | 0.057833
| CaSki | 1372.7148 | 888.3844 | 9920.7444 | 0.13837 | 0.089548 | 1.5452
| Sample | E2 rep1: Category; E2 rep2: E6/dipgen; E2 rep3: E2/dipgen
| G30 | E2 rep1: Low; E2 rep2: 1.4734; E2 rep3: 1.8894
| G1 | E2 rep1: Low; E2 rep2: 1.8982
| G31 | E2 rep1: Low; E2 rep2: 4.0439
| n55 | E2 rep1: Low; E2 rep2: 5.4003
| G19 | E2 rep1: Low; E2 rep2: 9.7876; E2 rep3: 12.3
| G12 | E2 rep1: Low; E2 rep2: 35.0856; E2 rep3: 34.6614
| n12 | E2 rep1: Low; E2 rep2: 42.2132; E2 rep3: 43.5762
| n10 | E2 rep1: Low; E2 rep2: 47.5708; E2 rep3: 73.395
| G26 | E2 rep1: Medium; E2 rep2: 297.0709; E2 rep3: 460.8348
| G18 | E2 rep1: Medium; E2 rep2: 342.7347; E2 rep3: 258.0304
| G6 | E2 rep1: Medium; E2 rep2: 423.1248; E2 rep3: 466.7438
| G3 | E2 rep1: Medium; E2 rep2: 527.5905; E2 rep3: 383.8586
| G9 | E2 rep1: Medium; E2 rep2: 690.7845
| G11 | E2 rep1: High; E2 rep2: 2481.3039; E2 rep3: 954.1666